## Testers
Parts removal status 〇 indicated a part that has been removed
Model | Rank | Test head front filter | W/S | HSD200 8 pieces | DPS | CUB | Lower power supply set | Board Packing
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750N | ①Major repair required |  | 〇 |  |  | 〇
J750N | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750N | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ③Minor repairs required | 〇 | 〇
J750EX | ③Minor repairs required | 〇 | 〇
J750EX | ③Minor repairs required | 〇 | 〇
J750EX | ③Minor repairs required | 〇 | 〇
J750EX | ③Minor repairs required | 〇 | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 | 〇
J750EX | ①Major repair required |  | 〇 | 〇
J750EX | ①Major repair required |  | 〇 | 〇 | 〇
J750EX | ①Major repair required |  | 〇 | 〇
J750EX | ①Major repair required |  | 〇 | 〇
J750EX | ①Major repair required |  | 〇 | 〇 | 〇
J750EX | ①Major repair required |  | 〇 | 〇 | 〇
J750 | ①Major repair required |  | 〇 |  |  | 〇
J750 | ①Major repair required |  | 〇 |  |  | 〇
J750 | ①Major repair required |  | 〇 |  |  | 〇
J750 | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 | 〇 |  | 〇 | 〇 | 〇
J750EX | ①Major repair required |  | 〇 | 〇 |  | 〇 | 〇 | 〇
J750EX | ①Major repair required |  | 〇 | 〇 |  | 〇 | 〇 | 〇
J750EX | ①Major repair required |  | 〇 | 〇 |  | 〇 | 〇 | 〇
J750EX | ①Major repair required |  | 〇 | 〇 |  | 〇 | 〇 | 〇
J750EX | ①Major repair required |  | 〇 | 〇 |  | 〇
J750EX | ①Major repair required |  | 〇 | 〇 |  | 〇
J750EX | ①Major repair required |  | 〇 | 〇 |  | 〇
J750EX | ①Major repair required |  | 〇 | 〇 |  | 〇
J750EX | ①Major repair required |  | 〇 | 〇 |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750EX | ①Major repair required |  | 〇 |  |  | 〇
J750 | ①Major repair required |  | 〇 |  |  | 〇

## Probers
Parts removal status 〇 indicates a part that has been removed
Model | Connection tester | Rank | LCD-related (including the display unit) | Temperature controller set | Chuck | All-axis motor | All-axis driver | Chiller | PBR HDD | LD DRV | Capacitance sensor | PIO board | MAIN DRV low temp | E2 Camera Cable | E2 Camera | E1 Bridge | POWERCONT | HF substrate for low temp | HDD
UF200SA | J750-T42 | ①Major repair required |  |  |  | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇
UF200SA | T6575-NEC24 | ①Major repair required |  |  | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇
UF200SA | J750-T67 | ④Can be used
UF200SA | J750EX-T360 | ④Can be used
UF200SA | M3660-T01 | ①Major repair required |  |  |  | 〇 | 〇 |  | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇
UF200SA | M3660-T03 | ①Major repair required |  |  |  | 〇 | 〇 |  | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇
UF200SA | M3660-T02 | ③Minor repairs required | [16 empty] | 〇
UF200SA | AL9042-T42-1 | ④Can be used
UF200SA | AL9042-T42-2 | ④Can be used
UF200SA | AL9042-T41-1 | ④Can be used
UF200SA | AL9042-T41-2 | ④Can be used
UF200SA | AL9042-T35-1 | ④Can be used
UF200SA | AL9042-T35-2 | ④Can be used
UF200 | AL9737-T36-1 | ①Major repair required | 〇 | 〇 |  |  | 〇 | [7 empty] | 〇 | 〇
UF200 | AL9737-T36-2 | ①Major repair required | 〇 | 〇 |  |  | 〇 | [7 empty] | 〇 | 〇
UF200 | AL9041-T36-1 | ①Major repair required |  | 〇
UF200 | AL9041-T36-2 | ①Major repair required |  | 〇
UF200 | AL9041-T90-1 | ①Major repair required |  | 〇
UF200 | AL9041-T90-2 | ①Major repair required |  | 〇
90A | MH630-T177-1 | ①Major repair required | 〇
90A | MH630-T177-2 | ①Major repair required | 〇
UF200SA | T6575-NEC14 | ①Major repair required |  |  |  | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇
90A | AL9041-T70-2 | ①Major repair required | 〇
90A | AL9041-T70-1 | ①Major repair required | 〇
UF200SA | J750-T106 | ④Can be used
UF200SA | J750-T165 | ④Can be used
UF200SA | J750EX-T211 | ④Can be used
UF200SA | J750-T213 | ④Can be used
UF200SA | J750EX-T79 | ④Can be used
UF200SA | J750EX-T100 | ④Can be used
UF200SA | J750EX-T107 | ④Can be used
UF200SA | J750EX-T108 | ④Can be used
UF200SA | J750EX-T133 | ④Can be used
UF200SA | J750EX-T134 | ④Can be used
UF200SA | J750EX-T135 | ④Can be used
UF200SA | J750EX-T136 | ④Can be used
UF200SA | J750EX-T137 | ④Can be used
UF200SA | J750-T147 | ④Can be used
UF200SA | J750EX-T148 | ④Can be used
UF200SA | J750EH-T149 | ④Can be used
UF200SA | J750EX-T166 | ④Can be used
UF200SA | J750EX-T167 | ④Can be used
UF200SA | J750EX-T181 | ④Can be used
UF200SA | J750EH-T182 | ④Can be used
UF200SA | J750EX-T183 | ④Can be used
UF200SA | J750EX-T195 | ④Can be used
UF200SA | J750-T227 | ④Can be used
UF200SA | J750EX-T230 | ④Can be used
UF200SA | J750EX-T241 | ④Can be used
UF200SA | J750EX-T244 | ④Can be used
UF200SA | J750EX-T246 | ④Can be used
UF200SA | J750EX-T248 | ④Can be used
UF200SA | J750EX-T264 | ④Can be used
UF200SA | J750EX-T266 | ④Can be used
UF200SA | J750EX-T267 | ④Can be used
UF200SA | J750EX-T268 | ④Can be used
UF200SA | J750EX-T359 | ④Can be used
UF3000 | J750EX-T435 | ①Major repair required |  | 〇 | 〇 | 〇 | 〇
UF200S | J750-T65 | ①Major repair required | [5 empty] | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇 | 〇