## Sheet1
Serial Number | Model | Software and hardware | Product Name | Quantity | Illustrate
|  |  | PS1600 | 4 | ordinary digital board 768ch
|  |  | WSMX-HS/HR | 1 | Supports high precision ADC high speed DAC test
|  |  | DPS128HC/HV | 1 | ordinary current board 1A*64ch, 200mA*64ch
| HW |  | Cooler | 1 | Used for internal cooling of equipment , External plant water supply required
1 | ATH |  | Workstation | 1 | Workstation host HP 2464
|  |  | Manipulator | 1 | engineering vehicle , Used to support the test head
|  |  | Seal kit | 1 | Used to prevent frost formation at low temperatures , Dry compressed gas needs to be borrowed.
|  | LIC | PS1600-100-200Mbps | 272 | 272ch Digital Channel 100M Upgrade to 200Mbps