8.0

HSD-U

604-356-04 1706-A 5445

   

HSD-U

612-073-00 1508-A 5445

   

PowerBoard

608-808-01 1148-A 5445

   

ChanBoard0

613-493-05 1706-A 5445

   

ChanBoard1

613-493-05 1706-A 5445

12.0

HSD-U

604-356-04 1609-A 5445

    

HSD-U

612-073-00 1508-A 5445

    

PowerBoard

608-808-01 1148-A 5445

    

ChanBoard0

613-493-05 1609-A 5445

    

ChanBoard1

613-493-05 1609-A 5445

16.0

HSD-U

604-356-04 1609-A 5445

    

HSD-U

612-073-00 1508-A 5445

    

PowerBoard

608-808-01 1148-A 5445

    

ChanBoard0

613-493-05 1609-A 5445

    

ChanBoard1

613-493-05 1609-A 5445

[image: image1.png]System
@& W Test Coverage [Full

Calibration | SMC

Tools Help

% b Wl Lloop(Quantity) -

4 [ISystem Monitors Slot Monitor Time. Lower Limit ~ Measured Value Upper Limit Units =
+ Dcou 8 0: Local M5V 10/2201:24:22 PM  -5.673 527 -452 Volt H
) S:ﬁ::o'"n'“c“a‘::"e( 8 L LocalPsV 10/2201:2422PM 4771 5139 546 Vol
8 2 MIOV.MON 10/2201:2422PM 1025 8434 6825 Volte
8 3: PIOV.MON 10/2201:2422PM 6825 8992 1025 Voits
. 8 4 200MV_REF 10/2201:2422PM 0164 0189 0225 Voit
. EETER 8 5: 2.5V REF 10/2201:2422PM 2431 2499 2571 Volt
1 [123HSD-M 8 6: 125V REF 10/2201:2422PM 12 1234 1269 Volte
+ [124supportBoard 8 7: 1D +0.5VPBCHO  10/2201:24:22 PM  0.399 0.508 06 Volt:
+ [125SupportBoard 8 & ID+0SVCHO  10/2201:2422PM 0399 0507 06 Vot
8 9 +48VInputPB  10/2201:2422PM 4399 4812 5198 Voit:
8 10:PS2 +12V PB 10/22012422PM 9591 1188 1439 Voite
8 1L:PS3 +12V PB 10/22012422PM 9591 1195 1439 Voite
8 12:1CPS2+26V PB 10/22012422PM 2081 2398 312 Vot
8 13:+145V CHO  10/22012422PM 1124 1439 1752 Volts
8 10/2201:2422PM 1124 1433 1752 Volts
8 10/2201:2422PM  7.998 9,969 12 Vot
8 10/2201:2422PM 1558 1248 1039 Volte
8 10/2201:2422PM 4003 4993 6007 Volt:
8 18: +5V CHL 10/2201:24:22PM 4,003 4975 6007 Volt
Tacter Faults
Slot Monitor Time Fail Description  Lower Limit Measured Value  Upper Limit Units State
Sme Viewer PWR




[image: image2.png]on:
System
@& W Test Coverage [Full

Calibration | SMC

Tools Help

L %kl loop(@Quantty -

4 [ISystem Monitors Slot Monitor Time. Lower Limit Measured Value Upper Limit Units -
' Licou 8 5V CHL 10/2201:24:22 PM 4,003 4975 6.007 Volt: ]
) S:ﬁ::o'"n'“c“a‘::"e( 8 33V CHO 10/2201:2422PM 2639 33 3958 Volt: H
8 20:433V CHL 10/2201:2422PM 2639 3306 3958 Volts
8 11V CHO 10/2201:2422PM 088 1001 1319 Voit:
. 8 11V CHL 10/2201:2422PM 088 109 1319 Voit:
. EETER 8 18V CHO 10/2201:2422PM 1439 1792 2159 Voit
1 [123HSD-M 8 18V CHL 10/2201:2422PM 1439 1804 2159 Voit
+ [124supportBoard 8 25: 425V CHO 10/2201:2422 PM  1.999 2.501 3 Volt:
+ [125SupportBoard 8 25V CHL 10/2201:2422PM 1999 2505 3 Vot
8 VA CHO 10/2201:2422PM 0799 1021 119 Volte
8 28:+IVA CHL 10/2201:2422PM 0799 1022 119 Volte
8 VB CHO 10/2201:2422PM 0799 1022 119 Volte
8 VB CHL 10/2201:2422PM 0799 1026 119 Volte
8 31: +1V.C CHO 10/2201:2422PM 0799 1026 119 Volte
8 1V C CHL 10/2201:2422PM 0799 1024 119 Volte
8 VD CHo 10/2201:2422PM 0799 1019 119 Volte
8 VD CHL 10/2201:2422PM 0799 103 119 Volte
8 VE CHO 10/2201:2422PM 0799 0982 1199 Voite
8 36: +1VE CHL 10/2201:2422PM 0799 0975 1199 Vol -
Tacter Faults
Slot Monitor Time Fail Description  Lower Limit Measured Value  Upper Limit Units State
Sme Viewer PWR




[image: image3.png]on:
System
@& W Test Coverage [Full

Calibration | SMC

Loop (Quantity) -

4 [Isystem Monitors
+ Cicou
[[ISystem Node
I [lSupport Cabinet

;
+ [121HSD-M
I [J23:HSD-M
1 [124:SupportBoard
I [125SupportBoard

Testar Faults

Slot Monitor

Monitor

Time Lower Limit _ Measured Value

Upper Limit Units

Lower Limit  Measured Value  Upper Limit Units State

8 1VE CHL 10/2201:24:22PM  0.799 0375 1199 Volt:
8 : +1VF CHO 10/2201:24:22PM  0.799 0991 1199 Volte
8 38:+1VF CHL 10/2201:24:22PM  0.799 0994 1199 Volte
8 VG CHO 10/2201:24:22PM  0.799 0988 1199 Volte
8 VG CHL 10/2201:24:22PM  0.799 0982 1199 Volte
8 11VH CHO  10/2201:2422PM 0691 0929 1339 Volte
8 11VH CHL  10/2201:2422PM 0691 0929 1339 Volte
8 43: +1.5V CHO 10/2201:24:22PM  1.199 1506 18 Volte
8 15V CHL 10/2201:24:22PM  1.199 1503 18 Volte
8 13VA CHO  10/2201:2422PM 1132 1292 1737 Volte
8 46:+13VA CH1  10/2201:2422PM 1132 1292 1737 Volte
8 10/2201:24:22PM 1132 1295 1737 Volte
8 10/2201:24:22PM 1132 1297 1737 Volte
8 10/2201:2422PM  -5.706 -4755 3803 Volt:
8 10/2201:24:22PM 4,003 4962 6.007 Volte
8 10/2201:24:22PM 4,003 497 6.007 Volte
8 10/2201:24:22 PM  -6.007 5033 4003 Volts
8 10/2201:24:22 PM  -6.007 5026 4003 Volts
8 54: +12V BIB 10/2201:2422PM 096 111 1439 Volts

Sme Viewer





[image: image4.png]A IG-XL with M:
File View O

on:
System
@& W Test Coverage [Full

Calibration | SMC

Tools  Help

L %kl loop(@Quantty -

4 [ISystem Monitors Slot Monitor Time. Lower Limit  Measured Value Upper Limit Units -
+ Dcou 8 1.2V BIB, 10/2201:24:22PM 0.96 1111 1439 Volt:
) S:ﬁ::o'"n'“c“a‘::"e( 8 : TEMP 1 PB 10/2201:24:22 PM 10,02 3551 5996 Degt
8 56: TEMP 2 PB 10/2201:2422PM 10,02 3197 5996 Degt
8 10/2201:2422PM 10,02 3551 5996 Degt
. 8 10/2201:2422PM 10,02 3465 5996 Degt
. EETER 8 10/2201:2422PM 10,02 3655 5996 Degt H
1 [123HSD-M 8 10/2201:2422PM 10,02 3534 5996 Degt
+ [124:5upportBoard 8 61: TEMP 52 CHO 10/22 01:2422 PM  10.02 34.99 59.96 Degt
I [J25:SupportBoard 8 62 TEMPS2CHL  10/2201:2422PM  10.02 3421 5996 Degt
8 63:TEMPS3CHO  10/2201:2422PM 1002 3603 5996 Degt
8 64TEMPS3CHI  10/2201:2422PM 1002 3586 5996 Degt
8 65: TEMPDCCHO  10/2201:2422PM  10.02 2981 5996 Degt
8 66:TEMPDCCH1  10/2201:2422PM  10.02 27.22 5996 Degt
8 67: TEMP MOSC CHC 10/2201:24:22PM  10.02 3352 5996 Degt
8 68: TEMP MOSC CH1 10/2201:24:22PM 10,02 3136 5996 Degt
8 69: TEMP BIB 10/2201:2422PM 10,02 2696 5996 Degt
12 0 Local M5V 10/2201:2422PM 5,673 5274 452 Vot
12 I local PSV 10/2201:2422PM 4771 5134 546 Vot
12 2 MI10V.MON 10/2201:2422PM  -10.25 -8455 6825 Volts -
Tacter Faults
Slot Monitor Time Fail Description  Lower Limit Measured Value  Upper Limit Units State
Sme Viewer

A o PR




[image: image5.png]o
Sysem Tools Help TERADYNE
@ B Test Coverage [Ful L % b Wl Loop@Quantity - 1, =8

Calibration | SMC

4 [ISystem Monitors Slot Monitor Time. Lower Limit Measured Value Upper Limit Units -
+ Dcou 12 2 M10V.MON 10/2201:24:22PM  -1025 -8455 6825 Volt:
[[ISystem Node
» Dsepport Cabinet 12 3 PIOV.MON 10/2201:2422PM 6825 2,002 1025 Voite
12 4 200MVREF 10/2201:2422PM 0164 0189 0225 Voit
12 5 25VREF 10/2201:2422PM 2431 2498 2571 Volt
. 12 6 L25VREF 10/2201:2422PM 12 1234 1269 Volte
. EETER 12 7:ID+05VPBCHO 10/2201:2422PM 0399 0505 06 Vot
I [J23:HSD-M 12 8 ID+0SVCHO  10/22012422PM 0399 0509 06 Vot
+ [124:5upportBoard 12 9 +48VInputPB  10/2201:2422PM 43.99 4812 5198 Volt: H
+ [125SupportBoard 12 :PS2 +12V PB 10/22012422PM 9591 1193 1439 Voite
12 11:PS3 +12V PB  10/2201:2422PM 9591 119 1439 Voite
12 12:1CPS2+26V PB  10/2201:2422PM 2081 2399 312 Vot
12 10/2201:2422PM 1124 1436 1752 Volts
12 10/2201:2422PM 1124 1436 1752 Volts
12 15:PS5 +10V PB 10/2201:2422PM 7.998 9945 12 Vot
12 :LCPSL-13VPB  10/22012422PM -1558 125 1039 Volte
12 5V CHO 10/2201:2422PM 4,003 497 6007  Volts
12 5V CHL 10/2201:2422PM 4,003 4962 6007  Volts
12 3.3V CHO 10/2201:2422PM 2639 3308 3958 Volts
12 20:+33V CHL 10/2201:2422PM 2639 3315 3958 Vol -
Tacter Faults
Slot Monitor Time Fail Description  Lower Limit Measured Value  Upper Limit Units State

Sme Viewer A e PR




[image: image6.png]on:

S Tools Help TERADYNE
@ W Test Coverage [Ful L %l LoopQuantt) - 1,
Calibration | SMC
4 [ISystem Monitors Time. Lower Limit Measured Value Upper Limit Units -
+ Dcou 10/2201:24:22PM 2,639 3315 3.958 Volt:
) E:ﬁ;‘::‘ e 10/2201:2422PM 0.8 109 1319 Volt:
10/2201:2422PM 0.8 109 1319 Volt:
10/2201:2422PM 1439 1789 2159 Vot
i 10/2201:2422PM 1439 1794 2159 Vot
» CltH50.M 10/2201:2422PM 1999 2502 3 Vol
+ [123:HSD-M 10/2201:2422PM 1999 2505 3 Vol
+ [124supportBoard 10/2201:2422PM 0799 1032 1199 Volt:
S 10/2201:2422PM 0799 1029 1199 Volt H
10/2201:2422PM 0799 103 119 Volt:
10/2201:2422PM 0799 10%6 119 Volt:
10/2201:2422PM 0799 1031 119 Volt:
10/2201:2422PM 0799 1028 119 Volt:
10/2201:2422PM 0799 1028 119 Volt:
10/2201:2422PM 0799 1032 119 Volt:
10/2201:2422PM 0799 0979 119 Volt:
10/2201:2422PM 0799 0983 119 Volt:
10/2201:2422PM 0799 0991 119 Volt:
10/2201:2422PM 0799 0994 119 Volt: o
Tester Faults
Slot Monitor Time Fail Description  Lower Limit  Measured Value  Upper Limit Units State

Sme Viewer A e PR




[image: image7.png]on:
System
@& W Test Coverage [Full

Calibration | SMC

Tools Help

L %kl loop(@Quantty -

4 [ISystem Monitors Time. Lower Limit Measured Value Upper Limit Units -
+ Dcou 10/2201:24:22PM  0.799 1199 Volt:
) E:ﬁ;‘::‘ e 10/2201:2422PM  0.799 119 Volt:
10/2201:2422PM 0799 119 Volte
10/2201:2422PM 0,691 1339 Voite
. 10/2201:2422PM 0,691 1339 Voite
. EETER 10/2201:2422PM 1199 18 Vot
1 [123HSD-M 10/2201:2422PM 1199 18 Vot
+ [124supportBoard 12 45:413VA CHO  10/22012422PM 1132 1737 Volt:
+ [125SupportBoard 12 13VA CHL  10/2201:2422PM 1132 1737 Volts
12 13VB CHO  10/2201:2422PM 1132 1737 Volts
12 48:+13VB CHI  10/22012422PM 1132 1737 Volts H
12 10/2201:2422PM 5706 3803 Volte
12 10/2201:2422PM 4,003 6007  Volts
12 10/2201:2422PM 4,003 6007  Volts
12 10/2201:2422PM 6,007 4003 Volte
12 10/2201:2422PM 6,007 4003 Volte
12 10/2201:2422PM 096 1439 Voite
12 10/2201:2422PM 10,02 5996 Degt
12 S6:TEMP2PB 10/2201:2422PM  10.02 59.96 Degt -
Tacter Faults
Slot Monitor Time Fail Description  Lower Limit Measured Value  Upper Limit Units State
Sme Viewer PWR




[image: image8.png]A IG-XL with M:
File View O

on:
System
@& W Test Coverage [Full

Calibration | SMC

Tools  Help

L %kl loop(@Quantty -

4 [ISystem Monitors Slot Monitor Time. Lower Limit  Measured Value Upper Limit Units -
+ Llcou 12 56:TEMP2PB 10/2201:2422 PM  10.02 2894 59.96 Degt
[[ISystem Node
» Dsepport Cabinet 12 S7:TEMPSOCHO  10/2201:2422PM 1002 3516 5996 Degt
12 SBTEMPSOCHL  10/2201:2422PM 1002 3473 5996 Degt
12 :TEMPSICHO  10/2201:2422PM 1002 3637 5996 Degt
. 12 EMPSICHI  10/2201:2422PM 1002 3508 5996 Degt
. EETER 12 EMPS2CHO  10/2201:2422PM 1002 3300 5996 Degt
1 [123HSD-M 12 EMPS2CHI  10/2201:2422PM 1002 339 5996 Degt
+ [124:5upportBoard 12 63: TEMP S3 CHO 10/22 01:2422 PM  10.02 59.96 Degt
I [J25:SupportBoard 12 :TEMPS3CH1  10/2201:2422PM 1002 5996 Degt
12 65:TEMPDCCHO  10/2201:2422PM 1002 5996 Degt
12 66:TEMPDCCHI  10/2201:2422PM 1002 5996 Degt
12 10/2201:2422PM 1002 5996 Degt H
12 10/2201:2422PM 1002 5996 Degt
12 69:TEMPBIB 10/2201:2422PM 1002 5996 Degt
16 0 Local M5V 10/2201:2422PM 5673 452 Vot
16 1 Local PSV 10/2201:2422PM 4771 546 Vot
16 2 MI10V.MON 10/2201:2422PM  -10.25 6825 Volte
16 3 PIOV.MON 10/2201:2422PM 6825 1025 Volt:
16 4 200MV_REF 10/2201:2422PM 0164 0225 Vol -
Tacter Faults
Slot Monitor Time Fail Description  Lower Limit Measured Value  Upper Limit Units State
Sme Viewer

A o PR




[image: image9.png]on:
System
@& W Test Coverage [Full

Calibration | SMC

Tools Help

L %kl loop(@Quantty -

4 [ISystem Monitors Slot Monitor Time. Lower Limit Measured Value Upper Limit Units -
+ Dcou 16 4 200MV_REF 10/2201:24:22PM  0.164 0189 0225 Volt:
[[ISystem Node
» Dsepport Cabinet 16 5 25VREF 10/2201:2422PM 2431 2499 2571 Vol
16 6 L25VREF 10/2201:2422PM 12 1233 1269 Volte
16 7:ID+05VPBCHO 10/2201:2422PM 0399 0506 06 Vot
. 16 8 ID+0SVCHO  10/2201:2422PM 0399 0509 06 Vot
. EETER 16 9 +48VInputPB  10/2201:2422PM 4399 4829 5198 Volt:
I [J23:HSD-M 16 10:PS2 +12V PB 10/2201:2422PM 9591 1193 1439 Voite
+ [124supportBoard 16 11:PS3 +12V PB  10/22012422PM 9591 1196 1439 Volt:
I [J25:SupportBoard 16 12:1CPS2+26V PB  10/2201:2422PM 2081 2385 312 Vot
16 13:+145V CHO  10/2201:2422PM 1124 1432 1752 Volts
16 14:+145V CHL  10/2201:2422PM 1124 1435 1752 Volts
16 15:PS5 +10V PB  10/2201:2422PM 7.998 9976 12 Vot
16 16:1CPS1-13VPB  10/2201:2422PM -1558 1254 1039 Volte
16 17:+5V CHO 10/2201:2422PM 4003 497 6007  Volts H
16 5V CHL 10/2201:2422PM 4003 4975 6007  Volts
16 3.3V CHO 10/2201:2422PM 2639 3.29 3958 Volts
16 33V CHL 10/2201:2422PM 2639 3.306 3958 Volts
16 11V CHO 10/2201:2422PM 088 1091 1319 Voit:
16 22:+11V CHL 10/2201:2422PM 088 1002 1319 Vol -
Tacter Faults
Slot Monitor Time Fail Description  Lower Limit Measured Value  Upper Limit Units State
Sme Viewer PWR




[image: image10.png]A IG-XL with M:

on:
File View Options e Tools  Help TERADYNE
@ W Test Coverage [Ful L %l LoopQuantt) - 1,
Calibration | SMC
4 [ISystem Monitors Time. Lower Limit  Measured Value Upper Limit Units -
+ Dcou 10/2201:24:22PM 0.8 1092 1319 Volt:
) S:ﬁ::o'"n'“c“a‘::"e( 10/2201:2422PM 1439 1779 2159 Vot
10/2201:2422PM 1439 1794 2159 Vot
10/2201:2422PM 1999 2507 3 Vol
i 10/2201:2422PM 1999 2511 3 Vol
» CltH50.M 10/2201:2422PM 0799 10%6 119 Volt:
+ [123:HSD-M 10/2201:2422PM 0799 1028 119 Volt:
+ [124supportBoard 10/2201:2422PM 0799 103 1199 Volt:
S 10/2201:2422PM 0799 10%6 1199 Volt
10/2201:2422PM 0799 10%6 119 Volt:
10/2201:2422PM 0799 1027 119 Volt:
10/2201:2422PM 0799 1025 119 Volt:
10/2201:2422PM 0799 102 119 Volt:
10/2201:2422PM 0799 0981 119 Volt:
10/2201:2422PM 0799 0981 119 Volt: H
10/2201:2422PM 0799 0994 119 Volt:
10/2201:2422PM 0799 0991 119 Volt:
10/2201:2422PM 0799 0981 119 Volt:
16 40:41VG CHL  10/22012422PM 0799 0983 119 Volt: o
Tester Faults
Slot Monitor Time Fail Description  Lower Limit  Measured Value  Upper Limit Units State

Sme Viewer A e PR




[image: image11.png]on:
System
@& W Test Coverage [Full

Calibration | SMC

Tools Help

L %kl loop(@Quantty -

4 [ISystem Monitors Slot Monitor Time. Lower Limit Measured Value Upper Limit Units -
+ Dcou 16 VG CHL 10/2201:24:22PM  0.799 1199 Volt:
) S:ﬁ::o'"n'“c“a‘::"e( 16 1IVH CHO  10/2201:2422PM  0.691 1339 Volt:
16 42+11VH CH1  10/2201:2422PM 0691 1339 Voite
16 15V CHO 10/2201:2422PM 1199 18 Vot
. 16 15V CHL 10/2201:2422PM 1199 18 Vot
. EETER 16 13VA CHO  10/2201:2422PM 1132 1737 Volts
1 [123HSD-M 16 13VA CHL  10/2201:2422PM 1132 1737 Volts
+ [124supportBoard 16 47:+13VB CHO 10/2201:2422 PM 1132 1737 Volt:
+ [125SupportBoard 16 10/2201:2422PM 1132 1737 Volts
16 10/2201:2422PM 5706 3803 Volte
16 10/2201:2422PM 4,003 6007  Volts
16 10/2201:2422PM 4,003 6007  Volts
16 10/2201:2422PM 6,007 4003 Volte
16 10/2201:2422PM 6,007 4003 Volte
16 10/2201:2422PM 096 1439 Voite
16 10/2201:2422PM 10,02 5996  Degl
16 10/2201:2422PM 10,02 5996  Degl H
16 10/2201:2422PM 10,02 5996 Degl
16 SBTEMPSOCHL  10/22012422PM 1002 35.08 5996  Degl -
Tacter Faults
Slot Monitor Time Fail Description  Lower Limit Measured Value  Upper Limit Units State
Sme Viewer PWR




[image: image12.png]A 1G-XL with M; on:
File View O System Tools  Help TERADYNE
@ B Test Coverage [Ful 20 Al Loop@Quantity - 1, wE

Calibration | SMC

4 [ISystem Monitors Slot Monitor Time. Lower Limit ~ Measured Value Upper Limit Units -
+ Dcou 16 C+SVRCHL  10/2201:2422PM  4.003 4984 6.007 Volt
) E:ﬁ;‘::‘ e 16 C-SVRCHO  10/2201:24:22PM  -6.007 4003 Volt:
16 53:DC-SVRCHI  10/2201:2422PM -6.007 4003 Volte
16 12V BIB 10/2201:2422PM 096 1439 Voite
. 16 EMP 1PB 10/2201:2422PM 10,02 5996 Degt
. EETER 16 EMP 2PB 10/2201:2422PM 10,02 5996 Degt
1 [123HSD-M 16 EMPSOCHO  10/2201:2422PM 1002 5996 Degt
+ [124:5upportBoard 16 58: TEMP S0 CH1 10/22 01:2422 PM  10.02 59.96 Degt
+ [125SupportBoard 16 :TEMPSICHO  10/2201:2422PM  10.02 5996 Degt
16 EMPSICHI  10/2201:2422PM 1002 5996 Degt
16 GLTEMPS2CHO  10/2201:2422PM 1002 5996 Degt
16 62TEMPS2CHI  10/2201:2422PM 1002 5996 Degt
16 63:TEMPS3CHO  10/2201:2422PM 1002 5996 Degt
16 64TEMPS3CHI  10/2201:2422PM 1002 5996 Degt
16 65:TEMPDCCHO  10/2201:2422PM 1002 5996 Degt
16 66:TEMPDCCHL  10/2201:2422PM 1002 59.96 Degt
16 67:TEMPMOSCCHC 10/2201:2422PM 1002 5996 Degt
16 68: TEMP MOSCCHI 10/2201:2422PM 10.02 5996 Degt H
16 69:TEMPBIB 10/2201:2422PM 10,02 2583 5996 Degt

Testar Faults

Slot Monitor Time Fail Description Lower Limit  Measured Value  Upper Limit Units State

Sme Viewer A e PR




[image: image13.png]Ele View Options Run
& W Test Coverage Full

Calibration | SMC

e Calibration  Tools Help

Lisrag

on X
TERADYNE

System Boards

Board/ID/Slot | Status

Temp | Date | Next.. | Comm

1~ [ HSDMBoard
£ © HSDU

& © Independent
Fos
~o 12
~o 16
SupportBoard

© @ HSDM.
HSDU
Support

Not OK.
oK
oK

Current calibration progress
Current calibration progress
Current calibration progress
Current calibration progress
Current calibration progress
Current calibration progress

Independent passed for slot 16

Calibration is o

%86 Completed

. %95 Completed

Calibration completed. 0 Completed

Calibration Reacy



Starting calibration...

Validating...

Validating DSP Procedures...

Calling Driver Preload...

Calling Driver Preload...

Validating Tests...

Test: Calibrate (0)

Driver checks: Calibrate (0)

VBT checks: Calibrate (0)

Driver Validation Broadcast...

Driver Validation

Calling Driver Preload...

Loading patterns, timing, levels

Broadcast to Drivers to Load Resources...

Performing Calibration Validation...

Validation completed successfully.

Started calibration... %1 Completed

DCInt passed for slot 24

Calibration completed. %0 Completed

Calibration is done

Starting calibration...

Started calibration... %1 Completed

Current calibration progress... %1 Completed

Current calibration progress... %2 Completed

Current calibration progress... %3 Completed

Current calibration progress... %4 Completed

Current calibration progress... %5 Completed

Current calibration progress... %6 Completed

Current calibration progress... %7 Completed

Current calibration progress... %8 Completed

Current calibration progress... %9 Completed

Current calibration progress... %10 Completed

Current calibration progress... %11 Completed

Current calibration progress... %12 Completed

Current calibration progress... %13 Completed

Current calibration progress... %14 Completed

Current calibration progress... %15 Completed

Current calibration progress... %16 Completed

Current calibration progress... %17 Completed

Current calibration progress... %18 Completed

Current calibration progress... %19 Completed

Current calibration progress... %20 Completed

Current calibration progress... %21 Completed

Current calibration progress... %22 Completed

Current calibration progress... %23 Completed

Current calibration progress... %24 Completed

Current calibration progress... %25 Completed

Current calibration progress... %26 Completed

Current calibration progress... %27 Completed

Current calibration progress... %28 Completed

Current calibration progress... %29 Completed

Current calibration progress... %30 Completed

Current calibration progress... %31 Completed

Current calibration progress... %32 Completed

Current calibration progress... %33 Completed

Current calibration progress... %34 Completed

Current calibration progress... %35 Completed

Current calibration progress... %36 Completed

Current calibration progress... %37 Completed

Current calibration progress... %38 Completed

Current calibration progress... %39 Completed

Current calibration progress... %40 Completed

Current calibration progress... %41 Completed

Current calibration progress... %42 Completed

Current calibration progress... %43 Completed

Current calibration progress... %44 Completed

Current calibration progress... %45 Completed

Current calibration progress... %46 Completed

Current calibration progress... %47 Completed

Current calibration progress... %48 Completed

Current calibration progress... %49 Completed

Current calibration progress... %50 Completed

Current calibration progress... %51 Completed

Current calibration progress... %52 Completed

Current calibration progress... %53 Completed

Current calibration progress... %54 Completed

Current calibration progress... %55 Completed

Current calibration progress... %56 Completed

Current calibration progress... %57 Completed

Current calibration progress... %58 Completed

Current calibration progress... %59 Completed

Current calibration progress... %60 Completed

Current calibration progress... %61 Completed

Current calibration progress... %62 Completed

Current calibration progress... %63 Completed

Current calibration progress... %64 Completed

Current calibration progress... %65 Completed

Current calibration progress... %66 Completed

Current calibration progress... %67 Completed

Current calibration progress... %68 Completed

Current calibration progress... %69 Completed

Current calibration progress... %70 Completed

Current calibration progress... %71 Completed

Current calibration progress... %72 Completed

Current calibration progress... %73 Completed

Current calibration progress... %74 Completed

Current calibration progress... %75 Completed

Current calibration progress... %76 Completed

Current calibration progress... %77 Completed

Current calibration progress... %78 Completed

Current calibration progress... %79 Completed

Current calibration progress... %80 Completed

Current calibration progress... %81 Completed

Current calibration progress... %82 Completed

Current calibration progress... %83 Completed

Current calibration progress... %84 Completed

Current calibration progress... %85 Completed

Current calibration progress... %86 Completed

Current calibration progress... %87 Completed

Current calibration progress... %88 Completed

Current calibration progress... %89 Completed

Current calibration progress... %90 Completed

Current calibration progress... %91 Completed

Current calibration progress... %92 Completed

Current calibration progress... %93 Completed

Current calibration progress... %94 Completed

Current calibration progress... %95 Completed

Independent passed for slot 8

Independent passed for slot 12

Independent passed for slot 16

Calibration completed. %0 Completed

Calibration is done

[image: image14.png]Ele View Opfions Run System Calbration

Tools Help

& W Test Coverage Full

MaintenanceTest | Calibration | SMC

4 @G AIlVP Tests
4E]  Systems

L ap

Loop (Quantity)

TERADYNE

1B Computer0

{E MaintSystem

1E o sMe

< @ @ Options
£ 240 SupportBoard
£ 250 SupportBoard
1 620 DistributionBoard
£ 630 DistributionBoard

Search for:

Ready.

FRU

Diagnostic

Time last tested

Failing Channels

e

PWR




[image: image15.png]Ele View Options Run
Sd

Test Coverage Continuity

MaintenanceTest | Calibration | SMC

4 @G AIlVP Tests
4 [@ @ Continuity
4 @ @ LegacyContinuity

]

SupportBoard
: HSD-M

Galibration

Tools Help

L ap

Loop (Quantity)

[Soxption

Result
LegacyContinuity

Pass

FRU

Diagnostic

Time last tested

Failing Channels

TERADYNE

Search for:

Testing Completed

Loop1

Pess

e

DI

PWR




