8.0		HSD-U		604-356-04 1732-A 5445

HSD-U		612-073-00 1732-A 5445

PowerBoard		608-808-01 1732-A 5445

ChanBoard0		613-493-05 1732-A 5445

ChanBoard1		613-493-05 1732-A 5445

12.0		HSD-U		604-356-04 1609-A 5445

HSD-U		612-073-00 1508-A 5445

PowerBoard		608-808-01 1148-A 5445

ChanBoard0		613-493-05 1609-A 5445

ChanBoard1		613-493-05 1609-A 5445

16.0		HSD-U		604-356-04 1609-A 5445

HSD-U		612-073-00 1508-A 5445

PowerBoard		608-808-01 1148-A 5445

ChanBoard0		613-493-05 1609-A 5445

ChanBoard1		613-493-05 1609-A 5445[ 11:30:00 AM ] CalSvc: Calibrating SupportBoard...

[ 11:30:00 AM ] CalSvc: Started calibration...  1% Completed

[ 11:30:04 AM ] DCInt passed for slot 24

[ 11:30:05 AM ] CalSvc: Calibration completed.

[ 11:30:06 AM ] Starting to Calibrate....

[ 11:30:06 AM ]

[ 11:30:06 AM ] CalSvc: Performing calibration for SupportBoard

[ 11:30:06 AM ] CalSvc: Started calibration...  1% Completed

[ 11:30:11 AM ] DCInt passed for slot 24

[ 11:30:11 AM ] CalSvc: Calibration completed.

[ 11:30:22 AM ] Starting to Calibrate....

[ 11:30:22 AM ]

[ 11:30:23 AM ] CalSvc: Performing calibration for HSD-U

[ 11:30:23 AM ] CalSvc: Started calibration...  1% Completed

[ 11:30:50 AM ] CalSvc: Current calibration progress...  1% Completed

[ 11:30:55 AM ] CalSvc: Current calibration progress...  2% Completed

[ 11:30:58 AM ] CalSvc: Current calibration progress...  3% Completed

[ 11:31:04 AM ] CalSvc: Current calibration progress...  4% Completed

[ 11:31:07 AM ] CalSvc: Current calibration progress...  5% Completed

[ 11:31:12 AM ] CalSvc: Current calibration progress...  6% Completed

[ 11:31:14 AM ] CalSvc: Current calibration progress...  7% Completed

[ 11:31:17 AM ] CalSvc: Current calibration progress...  8% Completed

[ 11:31:22 AM ] CalSvc: Current calibration progress...  9% Completed

[ 11:31:26 AM ] CalSvc: Current calibration progress...  10% Completed

[ 11:31:31 AM ] CalSvc: Current calibration progress...  11% Completed

[ 11:31:35 AM ] CalSvc: Current calibration progress...  12% Completed

[ 11:31:41 AM ] CalSvc: Current calibration progress...  13% Completed

[ 11:31:44 AM ] CalSvc: Current calibration progress...  14% Completed

[ 11:31:49 AM ] CalSvc: Current calibration progress...  15% Completed

[ 11:31:53 AM ] CalSvc: Current calibration progress...  16% Completed

[ 11:31:56 AM ] CalSvc: Current calibration progress...  17% Completed

[ 11:31:59 AM ] CalSvc: Current calibration progress...  18% Completed

[ 11:32:02 AM ] CalSvc: Current calibration progress...  19% Completed

[ 11:32:05 AM ] CalSvc: Current calibration progress...  20% Completed

[ 11:32:08 AM ] CalSvc: Current calibration progress...  21% Completed

[ 11:32:11 AM ] CalSvc: Current calibration progress...  22% Completed

[ 11:32:15 AM ] CalSvc: Current calibration progress...  23% Completed

[ 11:32:24 AM ] CalSvc: Current calibration progress...  24% Completed

[ 11:32:27 AM ] CalSvc: Current calibration progress...  25% Completed

[ 11:32:32 AM ] CalSvc: Current calibration progress...  26% Completed

[ 11:32:34 AM ] CalSvc: Current calibration progress...  27% Completed

[ 11:32:37 AM ] CalSvc: Current calibration progress...  28% Completed

[ 11:32:40 AM ] CalSvc: Current calibration progress...  29% Completed

[ 11:32:43 AM ] CalSvc: Current calibration progress...  30% Completed

[ 11:32:46 AM ] CalSvc: Current calibration progress...  31% Completed

[ 11:32:49 AM ] CalSvc: Current calibration progress...  32% Completed

[ 11:32:51 AM ] CalSvc: Current calibration progress...  33% Completed

[ 11:32:54 AM ] CalSvc: Current calibration progress...  34% Completed

[ 11:32:57 AM ] CalSvc: Current calibration progress...  35% Completed

[ 11:32:59 AM ] CalSvc: Current calibration progress...  36% Completed

[ 11:33:02 AM ] CalSvc: Current calibration progress...  37% Completed

[ 11:33:05 AM ] CalSvc: Current calibration progress...  38% Completed

[ 11:33:07 AM ] CalSvc: Current calibration progress...  39% Completed

[ 11:33:10 AM ] CalSvc: Current calibration progress...  40% Completed

[ 11:33:13 AM ] CalSvc: Current calibration progress...  41% Completed

[ 11:33:15 AM ] CalSvc: Current calibration progress...  42% Completed

[ 11:33:18 AM ] CalSvc: Current calibration progress...  43% Completed

[ 11:33:21 AM ] CalSvc: Current calibration progress...  44% Completed

[ 11:33:23 AM ] CalSvc: Current calibration progress...  45% Completed

[ 11:33:26 AM ] CalSvc: Current calibration progress...  46% Completed

[ 11:33:29 AM ] CalSvc: Current calibration progress...  47% Completed

[ 11:33:32 AM ] CalSvc: Current calibration progress...  48% Completed

[ 11:33:34 AM ] CalSvc: Current calibration progress...  49% Completed

[ 11:33:37 AM ] CalSvc: Current calibration progress...  50% Completed

[ 11:33:40 AM ] CalSvc: Current calibration progress...  51% Completed

[ 11:33:43 AM ] CalSvc: Current calibration progress...  52% Completed

[ 11:33:45 AM ] CalSvc: Current calibration progress...  53% Completed

[ 11:33:48 AM ] CalSvc: Current calibration progress...  54% Completed

[ 11:33:51 AM ] CalSvc: Current calibration progress...  55% Completed

[ 11:33:54 AM ] CalSvc: Current calibration progress...  56% Completed

[ 11:33:56 AM ] CalSvc: Current calibration progress...  57% Completed

[ 11:33:59 AM ] CalSvc: Current calibration progress...  58% Completed

[ 11:34:02 AM ] CalSvc: Current calibration progress...  59% Completed

[ 11:34:04 AM ] CalSvc: Current calibration progress...  60% Completed

[ 11:34:07 AM ] CalSvc: Current calibration progress...  61% Completed

[ 11:34:10 AM ] CalSvc: Current calibration progress...  62% Completed

[ 11:34:12 AM ] CalSvc: Current calibration progress...  63% Completed

[ 11:34:15 AM ] CalSvc: Current calibration progress...  64% Completed

[ 11:34:18 AM ] CalSvc: Current calibration progress...  65% Completed

[ 11:34:20 AM ] CalSvc: Current calibration progress...  66% Completed

[ 11:34:23 AM ] CalSvc: Current calibration progress...  67% Completed

[ 11:34:26 AM ] CalSvc: Current calibration progress...  68% Completed

[ 11:34:29 AM ] CalSvc: Current calibration progress...  69% Completed

[ 11:34:31 AM ] CalSvc: Current calibration progress...  70% Completed

[ 11:34:34 AM ] CalSvc: Current calibration progress...  71% Completed

[ 11:34:37 AM ] CalSvc: Current calibration progress...  72% Completed

[ 11:34:39 AM ] CalSvc: Current calibration progress...  73% Completed

[ 11:34:42 AM ] CalSvc: Current calibration progress...  74% Completed

[ 11:34:45 AM ] CalSvc: Current calibration progress...  75% Completed

[ 11:34:47 AM ] CalSvc: Current calibration progress...  76% Completed

[ 11:34:50 AM ] CalSvc: Current calibration progress...  77% Completed

[ 11:34:53 AM ] CalSvc: Current calibration progress...  78% Completed

[ 11:34:55 AM ] CalSvc: Current calibration progress...  79% Completed

[ 11:34:58 AM ] CalSvc: Current calibration progress...  80% Completed

[ 11:35:01 AM ] CalSvc: Current calibration progress...  81% Completed

[ 11:35:03 AM ] CalSvc: Current calibration progress...  82% Completed

[ 11:35:06 AM ] CalSvc: Current calibration progress...  83% Completed

[ 11:35:09 AM ] CalSvc: Current calibration progress...  84% Completed

[ 11:35:11 AM ] CalSvc: Current calibration progress...  85% Completed

[ 11:35:14 AM ] CalSvc: Current calibration progress...  86% Completed

[ 11:35:17 AM ] CalSvc: Current calibration progress...  87% Completed

[ 11:35:19 AM ] CalSvc: Current calibration progress...  88% Completed

[ 11:35:22 AM ] CalSvc: Current calibration progress...  89% Completed

[ 11:35:25 AM ] CalSvc: Current calibration progress...  90% Completed

[ 11:35:27 AM ] CalSvc: Current calibration progress...  91% Completed

[ 11:35:30 AM ] CalSvc: Current calibration progress...  92% Completed

[ 11:35:33 AM ] CalSvc: Current calibration progress...  93% Completed

[ 11:35:35 AM ] CalSvc: Current calibration progress...  94% Completed

[ 11:35:38 AM ] CalSvc: Current calibration progress...  95% Completed

[ 11:35:44 AM ] Independent passed for slot 8

Independent passed for slot 12

Independent passed for slot 16

[ 11:35:48 AM ] CalSvc: Calibration completed.