- The NIKON V-20A is an optical comparator mainly used for high-precision two-dimensional dimensional measurement in industrial fields. Its core features are as follows:
- Measuring capabilities: It can measure roundness, straightness, flatness, angles, tolerances, etc., and supports axial/radial/transverse feature measurement, with an accuracy of up to 0.5 μm.
- Optical system: Equipped with 10x, 20x, and 50x objectives, a 1344×1024 resolution CCD camera, providing clear images; LED/halogen lighting ensures contrast.
- Operational convenience: Manual/automatic focusing, supports 8 view field settings; the screen can be rotated and comes with digital readings (Heidenhain QC200, accurate to the μm level).
- Structural design: Cast iron material, shock-resistant and stable; includes a dust cover, adjustable worktable (supporting horizontal and vertical measurements), suitable for harsh environments.
- Application scenarios: Suitable for the inspection of parts made of plastic, metal, ceramic, etc., and supports rapid quality control in batch production.