## Aixtron Parts
Name | Vendor | Vendor PN | Qty | Comments
Input module, analog, 4ch, IE3102 | Beckhoff | IE3102-0000 | 2
In/Output module, digital, 4xDI/DO | Beckhoff | IL2301 B110-0000 | 2
Formed part 6 vacuum | - | - | 1
Bellow sealed valve, DN16KF, manual | VAT | 21624-KE04-AAF2/4832 | 2
Bellows, DN16, ISO-KF, 60mm | Pfeiffer | 170SFK016-060 | 2
Check Valve, DN40-ISO-KF, 25mBar | - | - | 1
Angle Valve DN16KF | VAT | 21624-KE21-AAG2/1964 | 1
Centering Ring, DN40, ISO-KF, FPM gasket | - | - | 4
Digital Output module, 4output | PILZ |  | 3
Axial Fan, 230VAC | Trumpf | 994635 | 1
Cover seg, inward, 8x6" |  |  | 1
Disc, 6", D159 |  |  | 8
Disc, Planet, 8x6", G5 |  |  | 1
Pin, D=2, L=10.5 |  |  | 1
Ceiling, G5, GPH |  |  | 2
Cover seg, outward |  |  | 1
Manifold, 3OP NC/NO/NC 4V 1/4VCR | Semco | MF34BCBOBC14AAAA13111A | 2
Throttle Valve, DN50KF | VAT | 61534-KEAI-AYY2/0177 | 2
Diffusion Barrier, G5, R224.5 |  |  | 1
Phoenix Filter Assy |  |  | 2
Inverted Filter Assy |  |  | 1
Phoenix Filter Element |  |  | 1
Inverted Filter Element |  |  | 1
Filter cartridge, 100um, LF1 1/2"-2", JUKO |  |  | 2
Gloves, pair, 300mm, Butyl |  |  | 1
Valve, Ball, DN50KF, heated, Vi564 |  |  | 1
Thrust Piece, Aperture, 7x12 |  |  | 1
Pin, D=10, L=20, supporting-disc |  |  | 1
Cover seg, diffusion barrier, 5x8" |  |  | 2

## Trumpf RF Gen Parts
Name | Vendor | Vendor PN | Qty | Comments
Tubing, Nylon, 10mmx8mm | FreelinWade | 1E-244-10 | 50 | Spool of water cooling tubing 10mm
Tubing, Nylon, 8mmx6mm | FreelinWade | 1E-243-10 | 50 | Spool of water cooling tubing 8mm
Diode Heatsink | Trumpf | 1851710 | 4
Pre-bent heat sink hoses 10mm | Trumpf | 1497432 | 1 | set
Straight push-lock unions, 10mm | Trumpf | 1212402 | 8
90* push-lock unions, 10mm | Trumpf | 1207826 | 4
90* push-lock reducer, 10mm x 8mm | Trumpf | 1212405 | 4
90* threaded adapter, 10mm x thread | Trumpf | 1207885 | 8
10mm Tubing | Trumpf | 469545 | 2 | meters

## NEL Parts
Name | Vendor | Vendor PN | Qty | Comments
Filter, Replacement for SF1326002 |  |  | 28
Bag, Dessicant, Container Dri II | Uline | S-7933 | 17
Dessicant, Dryer, Activated Alumina, 1/16" dia |  |  | 2 | 1 full bag, 3 partials, enough for probably 2+ PM's
Y-strainer, 1 1/2"NPT, 80 Mesh |  |  | 1
Teflon seal for 2" tube | USA Sealing | ZUSA-SG-T-2 | 3
Teflon seal for 1.5" tube | USA Sealing | ZUSA-SG-T-1.5 | 8
Teflon seal for 3" tube | USA Sealing | ZUSA-SG-T-3 | 1
Silicone Tubing, Misc | Technosil |  |  | 1/2", 1" ID tubing, various pieces
Pump motor | Marathon Electric | 5KH36MNA445AX | 1 | Used, Believe to be OK but pump failed so uncertain
Union for Pump |  |  | 1
Check valve for Pump |  | U3CSSVT15.0SS | 1
Barb fitting for pump |  |  | 1
Pump, SS Rotary Vane, 140GPH, w/clamp | Fluid-o-tech | PO411V | 1
Sensor, level, SS floats, 4 float, A200 |  |  | 4 | 2 rev A, 1 rev C, 1 unmarked
inserter, retaining ring, dryer, H-series |  |  | 4
Krytox 8209 | Krytox | LB 8209 | 3
wrench | Peter Paul Electronics | GP-418 | 2
wrench 2 | Peter Paul Electronics | GP-191 | 1
O-ring, 4 5/8"ID, 5" OD, Viton, -350 |  |  | 4
O-ring, Dryer, Bottom Manifold Tube Intfc |  |  | 20
O-ring, check valve cap |  |  | 6
O-ring, manifold to A300, FKM |  |  | 4
Strainer, 43um |  |  | 9
Orifice, threaded, 10-32, #33 (0.033) |  |  | 4
Orifice assy, 0.0047" |  |  | 1
Orifice assy, 0.0059" |  |  | 2
Orifice assy, 0.0071" |  |  | 3
Orifice assy, 0.0102" |  |  | 2
Orifice assy, 0.0043" |  |  | 2

## Pumps,Chillers,Scrubber,etc.
Aixtron PN | Name | Vendor | Vendor PN | Qty | Comments
| Lauda Chiller | Lauda | VC-2000 | 1 | water cooled unit
| Fill and cool valve assy | Regloplas | 350-100197 | 1 | 1 used
| Collection of fittings and pneumatic valves | Regloplas |  | 1 | Science experiment? Lots of fittings and valves not normally seen on these chillers
| Connector For A for Solenoid valve | Regloplas | 350-100193 | 1
| 6mm/4mm clean tubing | Regloplas | 362-100015 | 1.5 | Meters
| Small Solenoid Coil | Regloplas | 350-100161 | 2
| Large Solenoid Coil | Regloplas | 350-100131 | 2
| Large Solenoid Pilot valve | Regloplas | 350-100129 | 2
| Small Solenoid Pilot valve | Regloplas | 350-100022 | 2
| Solenoid spring and membrane | Regloplas | 350-100012 | 2
| Fitting d6 tubing to 1/8 NPT? | Regloplas | 300-100166 | 3 | SMC KQB2S06-01S
100001920 | Triscroll Pump | Agilent |  | 1
100219667 | Thermostat Bath, Double Bubbler | SMC | INR244 | 1 | banded to skid
| Chlorine scrubber Column | CS Clean | A6894-AKO | 2
| Chlorine Scrubber mini-absorber | CS Clean | A11156-Cl2 | 1
| NH3 purifier column | SemiTorr | MC700-702 | 1
| H2 purifier column | SemiTorr | GPUS10MFHX08R00CA | 1
100219666 | Thermostat Bath, Single Bubbler | SMC | INR244 | 1